## Slide 1: Overview
SITUATION
A Quick Service Restaurant has 4 walk-in refrigeration units. There is an energy meter installed at power supply of each of the 4 refrigeration units. There is also 1 temperature sensor installed inside each of these
TASK
Do a comparative analysis of following parameters Duty cycle Set temperature range (lower threshold and upper threshold) Average daily energy consumption Percentage of temperature compliance

## Slide 2: A) Duty Cycle
 | Refrigeration Unit 1 (hrs) | Refrigeration Unit 2 (hrs) | Refrigeration Unit 3 (hrs) | Refrigeration Unit 4 (hrs)
Day 1 | 23.68 | 23.4 | 22 | 24
Day 2 | 23.25 | 23.8 | 21 | 24
Day 3 | 23.87 | 22.9 | 22 | 24
Day 4 | 23.25 | 24.0 | 23 | 24
Day 5 | 23.98 | 23.5 | 23 | 24
Day 6 | 23.50 | 23.7 | 22 | 24
Day 7 | 23.53 | 23.8 | 21 | 24
Day 8 | 23.63 | 23.3 | 22 | 24
Day 9 | 22.70 | 23.7 | 22 | 24
Day 10 | 23.68 | 23.4 | 23 | 24

## Slide 3: B) Set temperature range (lower threshold)
 | Refrigeration Unit 1 (°C) | Refrigeration Unit 2 (°C) | Refrigeration Unit 3 (°C) | Refrigeration Unit 4 (°C)
Day 1 | 1.90 | -3.65 | 1.12 | 0.19
Day 2 | 2.19 | -3.65 | 1.43 | 0.41
Day 3 | 1.97 | -4.09 | 1.09 | 0.78
Day 4 | 1.65 | -3.22 | 1.53 | 0.75
Day 5 | 1.84 | -2.12 | 1.56 | 1.03
Day 6 | 1.72 | -3.00 | 1.50 | 1.03
Day 7 | 1.94 | -3.50 | 1.28 | 1.00
Day 8 | 2.06 | -3.25 | 1.62 | 1.09
Day 9 | 2.12 | -3.34 | 1.56 | 0.94
Day 10 | 2.06 | -3.56 | 1.50 | 0.68

## Slide 4: B) Set temperature range (upper threshold)
 | Refrigeration Unit 1 (°C) | Refrigeration Unit 2 (°C) | Refrigeration Unit 3 (°C) | Refrigeration Unit 4 (°C)
Day 1 | 12.47 | 15.31 | 14.62 | 8.09
Day 2 | 9.72 | 10.56 | 101.91 | 101.47
Day 3 | 8.47 | 21.19 | 14.41 | 4.81
Day 4 | 11.06 | 10.84 | 14.65 | 15.88
Day 5 | 6.19 | 22.28 | 101.00 | 5.72
Day 6 | 102.16 | 17.68 | 18.09 | 10.09
Day 7 | 101.13 | 102.63 | 15.69 | 4.78
Day 8 | 10.00 | 13.31 | 20.65 | 5.40
Day 9 | 9.78 | 16.00 | 14.78 | 10.03
Day 10 | 102.19 | 20.97 | 19.28 | 7.69

## Slide 5: C) Average Daily Energy Consumption
Chart: 
| Day 1 | Day 2 | Day 3 | Day 4 | Day 5 | Day 6 | Day 7 | Day 8 | Day 9 | Day 10
Refrigeration Unit 1 | 1551.997 | 1495.398 | 1426.9435 | 1355.0925 | 976.735 | 1475.233 | 1261.365 | 1444.5005 | 1433.2125 | 1460.6475
Chart: 
| Day 1 | Day 2 | Day 3 | Day 4 | Day 5 | Day 6 | Day 7 | Day 8 | Day 9 | Day 10
Refrigeration Unit 2 | 2196.9928 | 2221.997 | 2160.5945 | 2116.4915 | 1647.3945 | 2172.1118 | 1855.0085 | 2390.576 | 2258.1015 | 2383.309

## Slide 6
Chart: 
| Day 1 | Day 2 | Day 3 | Day 4 | Day 5 | Day 6 | Day 7 | Day 8 | Day 9 | Day 10
Refrigeration Unit 3 | 1966.9195 | 2182.2595 | 2041.726 | 1778.9645 | 1357.5765 | 1926.762 | 1139.759 | 2433.7905 | 2267.6097 | 2543.7217
Chart: 
| Day 1 | Day 2 | Day 3 | Day 4 | Day 5 | Day 6 | Day 7 | Day 8 | Day 9 | Day 10
Refrigeration Unit 4 | 1615.4205 | 1856.627 | 1750.8885 | 1278.1985 | 1333.0615 | 1735.2005 | 1664.65 | 1878.0275 | 2011.959 | 1957.316
C) Average Daily Energy Consumption

## Slide 7
Chart: Total Energy Consumption
| Day 1 | Day 2 | Day 3 | Day 4 | Day 5 | Day 6 | Day 7 | Day 8 | Day 9 | Day 10
Total Consumption | 7331.3298 | 7756.2815 | 7380.1525 | 6528.747 | 5314.7675 | 7309.3073 | 5920.7825 | 8146.8945 | 7970.8827 | 8344.9942
Average Energy Consumption per day = 7200.41 kW

## Slide 8: D) Percentage of Temperature Compliance
Chart: Refrigeration Unit 1
| Day 1 | day 2 | day 3 | day 4 | day 5 | day 6 | day 7 | day 8 | day 9 | day 10
 | 0.53472 | 0.49444 | 0.51319 | 0.45208 | 0.34444 | 0.46597 | 0.44583 | 0.53403 | 0.5 | 0.53056
Chart: Refrigeration Unit 2
| Day 1 | day 2 | day 3 | day 4 | day 5 | day 6 | day 7 | day 8 | day 9 | day 10
 | 0.26944 | 0.29097 | 0.29583 | 0.27014 | 0.20347 | 0.26042 | 0.25347 | 0.28819 | 0.27986 | 0.28264

## Slide 9: D) Percentage of Temperature Compliance
Chart: Refrigeration Unit 3
| Day 1 | day 2 | day 3 | day 4 | day 5 | day 6 | day 7 | day 8 | day 9 | day 10
 | 0.71944 | 0.63333 | 0.54583 | 0.74792 | 0.45139 | 0.53472 | 0.24861 | 0.69583 | 0.80694 | 0.83264
Chart: Refrigeration Unit 4
| Day 1 | day 2 | day 3 | day 4 | day 5 | day 6 | day 7 | day 8 | day 9 | day 10
 | 0.70972 | 0.75069 | 0.89167 | 0.33681 | 0.55625 | 0.69653 | 0.79444 | 0.93194 | 0.92708 | 0.79236

## Slide 10: D) Percentage of Temperature Compliance
Chart: Comprative Analysis of Temp Compliance
| Day 1 | day 2 | day 3 | day 4 | day 5 | day 6 | day 7 | day 8 | day 9 | day 10
Refrigeration Unit 1 | 0.53472 | 0.49444 | 0.51319 | 0.45208 | 0.34444 | 0.46597 | 0.44583 | 0.53403 | 0.5 | 0.53056
Refrigeration Unit 2 | 0.26944 | 0.29097 | 0.29583 | 0.27014 | 0.20347 | 0.26042 | 0.25347 | 0.28819 | 0.27986 | 0.28264
Refrigeration Unit 3 | 0.71944 | 0.63333 | 0.54583 | 0.74792 | 0.45139 | 0.53472 | 0.24861 | 0.69583 | 0.80694 | 0.83264
Refrigeration Unit 4 | 0.70972 | 0.75069 | 0.89167 | 0.33681 | 0.55625 | 0.69653 | 0.79444 | 0.93194 | 0.92708 | 0.79236

## Slide 11
THANK YOU!
Shivansh Gupta
IIT BHU (Varanasi)